## Asset Register
Asset ID | Asset Name | Type | Location | Status | Assigned Owner | Criticality | Last Service Date | Next Service Date
A-1001 | HVAC Unit 1 | HVAC | Main Building | Active | Facilities | High | 2025-12-15 | 2026-06-15
A-1002 | Forklift FL-3 | Vehicle | Warehouse | Active | Logistics | Critical | 2026-01-10 | 2026-04-10
A-1003 | Air Compressor | Equipment | Maintenance Shop | Under Repair | Maintenance | High | 2025-11-20 | 2026-05-20
A-1004 | Server Rack UPS | Electrical | Data Room | Active | IT | Critical | 2025-10-05 | 2026-04-05
A-1005 | Conveyor Belt 2 | Equipment | Production Line | Active | Operations | Medium | 2025-12-01 | 2026-03-01

## Equipment Maintenance Log
Work Order ID | Asset ID | Date Opened | Task Type (PM or Corrective) | Issue | Action Taken | Technician | Parts and Cost | Date Closed
WO-2001 | A-1001 | 2025-12-10 | PM | Seasonal inspection | Cleaned coils | J. Smith | $120 | 2025-12-15
WO-2002 | A-1002 | 2026-01-05 | Corrective | Hydraulic leak | Replaced hose | M. Lopez | $340 | 2026-01-10
WO-2003 | A-1003 | 2026-02-01 | Corrective | Low pressure | Valve replacement | A. Brown | $220
WO-2004 | A-1004 | 2025-10-01 | PM | Battery test | Replaced batteries | K. Patel | $450 | 2025-10-05

## PM Schedule
Asset ID | PM Task | Frequency | Last Completed | Next Due | Owner | Status
A-1001 | Filter replacement | 6 Months | 2025-06-15 | 2026-01-15 | Facilities | Overdue
A-1002 | Safety inspection | Quarterly | 2026-01-12 | 2026-04-15 | Logistics | On Time
A-1003 | Pressure test | 6 Months | 2026-06-11 | 2026-12-15 | Maintenance | On Time
A-1004 | Battery load test | 6 Months | 2024-12-15 | 2027-01-15 | IT | On Time
A-1005 | Belt lubrication | Monthly | 2024-12-15 | 2028-01-02 | Operations | On Time
Formulas:
Status = IF([Next Due]="","",IF([Next Due]<TODAY(),"Overdue",IF([Next Due]-TODAY()<=14,"Due Soon","On Time")))

## Location Assignment
Asset ID | Current Location | Previous Location | Date Moved | Moved By
A-1001 | Main Building | Roof | 2025-08-10 | Facilities
A-1002 | Warehouse | Dock | 2025-09-01 | Logistics
A-1003 | Maintenance Shop | Production Floor | 2026-02-01 | Maintenance
A-1004 | Data Room | IT Storage | 2025-07-15 | IT
A-1005 | Production Line | Receiving | 2025-10-20 | Operations